**Aurosleek**

**Ophthalmic Surgical Blades (IHS)**

|  |  |  |
| --- | --- | --- |
| **Blade Type** | **Model Number** | **Description** |
| Keratome Blades/Slit Blades | KD22215HT | 2.2mm Angled Bevel Up with Handle |
| KD24215HT | 2.4mm Angled Bevel Up with Handle |
| KD26215HT | 2.6mm Angled Bevel Up with Handle |
| KD275215HT | 2.75mm Angled Bevel Up with Handle |
| KD28215HT | 2.8mm Angled Bevel Up with Handle |
| KD28315HT | 2.8mm Angled Bevel Down with Handle |
| KD30215HT | 3.0mm Angled Bevel Up with Handle |
| KD30315HT | 3.0mm Angled Bevel Down with Handle |
| KD32215HT | 3.2mm Angled Bevel Up with Handle |
| MVR Blades | R19015HC | 19G MVR Straight with Handle |
| R19415HC | 19G MVR Angled with Handle |
| R20012HC | 20G MVR Straight with Handle |
| R20412HC | 20G MVR Angled with Handle |
| R21011HC\* | 21G MVR Straight with Handle |
| R21411HC\* | 21G MVR Angled with Handle |
| R23009HC\* | 23G MVR Straight with Handle |
| R23409HC\* | 23G MVR Angled with Handle |
| R24008HC\* | 24G MVR Straight with Handle |
| R24408HC\* | 24G MVR Angle with Handle |
| Sideport/Stab Blades | L15022HT | 15 Degree Straight Sideport with Handle |
| SD10015HT | 1.0mm Straight Sideport with Handle |
| SD10215HT | 1.0mm Sideport Angled with Handle |
| SD11015HT | 1.1mm Straight Sideport with Handle |
| SD11215HT | 1.1mm Sideport Angled with Handle |
| SD13015HT | 1.3mm Straight Sideport with Handle |
| SD13215HT | 1.3mm Sideport Angled with Handle |
| SD16015HT | 1.6mm Straight Sideport with Handle |
| SD17215HT | 1.7mm Sideport Angled with Handle |
| Implant Blades | I52215HT | 5.2mm Angled Bevel Up with Handle |
| I52315HT | 5.2mm Angled Bevel Down with Handle |
| Crescent Blades | C25222HT | 2.5mm Angled Bevel Up with Handle |